## Slide 1: Techno-economic assessment of solar technologies and integration strategies for the Canadian housing stock
Sara Nikoofard
Dr. V. I. Ugursal
Dr. I. Beausoleil-Morrison

## Slide 2: CHREM Model
CSDDRD house files
ESP-r input files
Conversion Program
Batch simulation
Appliance and Lighting energy cons. (NN)
GHG emission model for electricity consumption
Appliance and Lighting and DHW load profiles
GHG emission model for fossil fuel consumption
GHG emissions of all houses due to electricity consumption
GHG emissions of all houses due to fossil fuel consumption
Energy and electricity consumption of all houses

## Slide 3: Adding Upgrade to CHREM Model
Develop model for Solar Tech.
Integrate to CHREM Model
Estimate Energy Consumption & GHG emission
Base Case Energy Consumption & GHG emission
Impact of Upgrade on EC &GHG
Cost estimation model
Techno-Economic analysis

## Slide 4
CSDDRD Houses
Develop model for solar technologies
Apply upgrade Scenario
Estimate GHG production with upgrade
Estimate energy consumption with upgrade
Base case energy consumption
Base case GHG production
Comparison
Comparison
Estimate cost of upgrade
GHG emissions reduction with upgrade
Energy savings with upgrade
Energy savings per dollar investment
GHG emissions reduction per dollar investment
Techno-economic analysis
By Province
By Fuel type
By House type
By Vintage

## Slide 5: Solar Technologies
Solar water heating
  Using flat plate collector
    Thermosyphon
    Active
  Using evacuated tube
    Thermosyphon
    Active
Solar space heating
  Passive
    Direct gain
      Changing windows area
      Changing windows type
      Shading devices
        Fixed internal or external shading (Venetian blind)
        Fixed external shading (Overhang)

## Slide 6: Solar Technologies
    Indirect gain
      Trombe wall
      Thermal distributed mass
      Phase Change Materials (PCM)
    Isolated gain
      Sunspace
  Active
    Active solar space heating
      Liquid based
        Flat plate collector
        Evacuated tube
        Concentrating collector
      Air based
    Controlled internal and external shading devices

## Slide 7: Solar Technologies
Solar Space Cooling
  Thermally activated cooling systems (TACS)
    Solar absorption cooling system
    Solar desiccant technology
Photovoltaics
  PV electricity generation
  Building Integrated photovoltaic thermal (BIPV/T) system
External shading effect (adding obstruction to take account neighbouring buildings and trees)

## Slide 8: Selected Technologies
Solar water heating
  Using flat plate collector
    Active
Solar space heating
  Passive
    Direct gain
      Changing windows area
      Changing windows type
      Shading devices

## Slide 9: Selected Technologies
        Fixed internal or external shading (Venetian blind)
        Fixed external shading (Overhang)
    Indirect gain
      Thermal distributed mass
      Phase Change Materials (PCM)
    Controlled internal and external shading devices
Photovoltaics
  PV electricity generation
External shading effect (adding obstruction to take account neighbouring buildings and trees)

## Slide 10: Implementation in ESP-r
Implementing each technology in esp-r:
  Simulation approach (which files should be added or changed)
  Sensitivity analysis and choose the appropriate design and formulate to add in Perl
  Build essential template files (exp. obs file)
  Selecting eligible houses and apply the technology for all eligible houses

## Slide 11: Implementation in ESP-r - sample
Studying the effect of external shading obstructions on energy consumption
  *.obs (obstruction file) should be added to the house
  The impact of size, location, number and climate was studied (sensitivity analysis)
  *.obs file was added as template file
  Study the effect of shading by nearby structures on the solar technologies will be conducted
  Selecting eligible houses and apply the technology for all eligible houses